INFORMATIONAL DOCUMENTATION FOR

IES FORMAT PHOTOMETRIC FILES

VERSION 1.02

PROVIDED ON 3.5" DS,HD DISKETTES

Litecontrol Corporation provides its' photometric information in various

combinations of format and media type for transfer to, or use on, personal

computers operating in the MS-DOS environment.

The format types are IES and LUMEN-DATA while the media types are 5-1/4"

DS,DD diskettes, 5-1/4" DS,HD diskettes, and 3.5" DS,HD diskettes.

IES format refers to photometric data which has been stored electronically in

accordance with the IES Recommended Standard File Format for Electronic

Transfer of Photometric Data (LM-63-1986).  Although this IES standard has

provisions for storing photometric data for more than one luminaire per file

we have chosen not to exercise this option because of our understanding that

some lighting calculation programs available apparently must have only one

luminaire per file. (We are presently in the process of updating our IES

formatted photometric files to be in compliance with IES LM-63-1991

recommended standard file format.  A subsequent release will follow as soon as

this task is complete.  Since the 1991 changes involve the additions of

(keywords) the data contained on these diskettes will be compatible with

lighting calculation programs.)

Although the paragraphs below will provide some guidance, this document does

assume that you have a working knowledge of the basic DOS commands or the

lighting calculation program with which you're going to use these Photometric

Files.

A  pair of supplementary files, I_CN_3HD.DOC and I_FN_3HD.DOC, have also been

provided to assist you in determining the correct file name for a particular

Litecontrol catalog number, or vice versa.  Each file contains three columns

of data: the Litecontrol catalog number, the diskette number containing the

file, and the IES file name.

File I_CN_3HD.DOC -- Sorted on Litecontrol Catalog number, for

use in determining eight-digit IES file

name.

File I_FN_3HD.DOC -- Provided on the last diskette and sorted on

the ascending IES file name for use in

determining Litecontrol Catalog Number when

IES file name is known.

To take a look at the contents of file I_CN_3HD.DOC on the computer screen,

use the DOS command TYPE.  Example:

TYPE A:\I_CN_3HD.DOC

You may find it more convenient to have a hard-copy printed version of this

file for handy reference near your computer.  With your printer connected to

your computer, on-line and at top of form use the DOS command COPY.  Example:

COPY A:\I_CN_3HD.DOC PRN

Copying/Using Photometric Files:

With most lighting calculation programs in use today there are several options

available to you for accessing the photometric data.  Most programs will allow

you to specify the path directly to the photometric data from within the

program, enabling you to leave the data on the diskettes as it was provided.

An example of this path might be:

A:\16012002.IES

One item to note is that if you are working with a database which contains

more than one diskette, such as the 3.5" DS,HD version, you must be certain

that you have placed the correct diskette in the A: drive before instructing

your lighting calculation program to proceed.  Refer to the supplementary file

I_CN_3HD.DOC to determine which diskette contains the photometric data.

Depending upon your anticipated frequency of use for the photometric data and

the amount of storage capacity you have available on your hard drive you may

want to consider copying some or all of this data to the directory (or sub-

directory) where your particular lighting calculation program looks for the

data by default. (If you are unfamiliar with where this location is you'll

need

to refer to your program documentation provided with the lighting calculation

program.)  Our present entire database would require approximately 700 KB of

storage capacity.

Before continuing, refer to the documentation provided with your lighting

calculation program to determine if this data must be copied to a particular

default location.  An example of this COPY command, assuming you only wanted

to copy the photometry of our P-I-324T8 for use with Lumen-Micro 5.0 (or

subsequent revision) would be:

COPY A:\11021000.IES C:\LMV5\IES

Zero Degree Plane Orientation:

Most lighting calculation programs utilize the orientation of the zero degree

plane of photometric data as the key to determine how you might need to rotate

the luminaire(s) within a modeled room to achieve a particular layout

configuration.  For purposes of this explanation we can separate our

luminaires into two broad categories: Symmetric and Asymmetric.

Symmetric -- Symmetric luminaires would be those which can be photometrically

defined by (5) planes of data (0, 22.5, 45, 67.5 & 90).  Examples of these

luminaires would be our S-D-66N24RS-BW and P-I-324T8.  The test data for these

luminaires have the Zero Degree Plane orientated parallel to the lamp(s).

Asymmetric -- Asymmetric luminaires would be those which can be

photometrically defined by (9) planes of data (0, 22.5, 45, 67.5, 90, 112.5,

135, 157.5 & 180).  Examples of these luminaires would be our 2014RS and

W-AI-7024T8.  The test data for these luminaires have the Zero Degree Plane

orientated perpendicular to the lamp(s) and located on the side of our fixture

which would normally be facing against a wall.

If, after reviewing the information provided in this file, the cross reference

files and your program documentation, you find that you are experiencing some

difficulties in working with this, give us a call or FAX us a question at:

LITECONTROL CORPORATION

APPLICATIONS ENGINEERING

P.O. BOX 100

100 HAWKS AVENUE

HANSON, MA 02341

TEL # (617) 294-0100

FAX # (617) 293-2849